Conversation Starters for Decontamination and
Sterile Processing & Infection Preventionists

Format for Meet & Greet.

Estimated time 60–minute meeting

- Things to expect

- IP Role in relationship to your area.

- Agenda

| Agenda | Notes |
| --- | --- |
| Meeting Preparation - Review recent meeting minutes of committees you both serve on such as Safety, ICC, etc. |  |
| Introductions - Share background and experience. |  |
| Discuss Current Practices - Describe the workflow from start to finish (e.g., collection of dirty instruments all the way to storage of sterile items) Decontamination Area: - How are you involved in the pre-cleaning of used point-of-use instruments pre-cleaned and transported to the department? - What product is used? - Who conducts the transportation? - Is the process followed at the point of use? - Describe the process for decontamination, including manual processes and equipment used. - If automated cleaning methods are used, what is the solution and how is the process validated? - What PPE is used by the staff? - Are there special practices or workflows used to prevent sharps injuries? - At what point are items deemed ready to prep for distribution or sterilization? - Are there times when staff need to cross between Decontamination and Sterilization? If so, what is the process to prepare for this change? E.g., PPE, hand hygiene, change scrubs etc. - What processes does the department use to prevent employee exposure to blood/body fluid? How effective are they? - How do you monitor special airflow requirements? - How are decontamination and sterilization areas separated? - What environmental monitoring of these areas occurs? - Who is responsible for this? - Where is it documented? Sterilization Area - What types of sterilization occur in this department? - How are vendor instructions and changes integrated? - What kind of documentation exists of instruments sterilized and the process controls used? - How are Manufacturer Instructions for Use (IFUs) accessed, reviewed, and implemented? - Are any devices identified as single-patient use reprocessed? In-house or third-party? - What is your policy/practice for instruments brought from an outside source? - Where/when do you use biological and chemical indicators? - What is the process for follow-up to sterilizer failures? How does that work and where can IPC be involved? - How often do you need to recall instruments? Packaging & Storage: - How are items packaged and stored? - How are sterile items transported and stored on units and in procedural areas? - How are the rooms for sterile supply organized and set up (e.g., positive to the corridor, only clean storage, etc.) - Follow up with a tour of the department. |  |
| Identify Challenges - Are there any challenges you are currently facing in regard to cleaning and sterilization of instruments? (e.g., water quality, pre-cleaning of instruments, air quality maintenance) |  |
| Collaborative problem-solving and Relationship - How did you interact with IPs in the past? What has the IPs role and scope been in relation to Sterile Processing? - What has your understanding of the IP’s role related to supporting Sterile Processing been? - What frequency did you interact? (E.g., Facility surveys/visits, sterilizer monitoring failures, clusters of infections, etc.) - Describe shared goals or any recent projects including both Sterile Processing and the IPC Program. - What can the IPC Program do to support your department? |  |
| Training Needs - How/how often are competency assessments conducted for decontamination staff? - How are these documented? - Are vendors involved? - How are new staff trained? - How/how often are competency assessments conducted for sterilization staff? - How are these documented? |  |
| Sharing Data and Highlighting Successes - What data elements collected by the Decontamination/ Sterile Processing department are provided to the IPC program, (E.g., immediate-use sterilization rate, sterilization-related incidents, Biological Indicator testing failures etc.) - What data elements collected by Infection Prevention are used in Sterile Processing, e.g., surgical site infection rates, etc. |  |
| Open Forum & Follow-up - Expectation for ongoing communication and shared projects. - Share preferred methods of communication. - List any follow up items with anticipated follow-up dates? - Establish period rounding of the sterile processing and decontamination areas. |  |