Cleaning and Disinfection Roles & Responsibilities

The intent of this document is to aid facilities in establishing clear roles and responsibilities for environmental cleaning and disinfection.

The items listed below are intended to be a guide and are NOT all inclusive. Please modify this document to meet the needs of your facility.

Steps in Establishing Clear Roles and Responsibilities for Cleaning and Disinfection:

- Convene group of stakeholders

- Evaluate units and areas for spaces, items, and devices that require cleaning and disinfection.

- Identify and list items below that require cleaning and disinfection

- Establish a clear role to perform the cleaning and disinfection

- Establish a method for cleaning and disinfection (e.g., chemical used)

- Establish a frequency for cleaning and disinfection.

- Consider identifying a method for documentation.

| EVS staff | Nursing and Clinical Staff | IPC Team |
| --- | --- | --- |
| Perform routine cleaning and disinfection of patient care areas, high-touch surfaces, and common areas. | Clean and disinfect shared medical equipment (e.g., stethoscopes, BP cuffs) between patient use. | Collaborate with EVS leadership and facility administration to develop a strong EVS program and co-create and update cleaning/disinfection policies. |
| Maintain and store cleaning equipment properly to prevent cross-contamination. | Ensure patient rooms are maintained according to infection prevention protocols. | Ensure training and competencies are completed for daily and terminal cleaning, special isolation rooms and procedural areas |
| Follow facility cleaning protocols and use EPA-registered disinfectants appropriately. |  |  |
|  |  | Ensure policies and procedures reflect best practices, national standards and facility needs while maintaining clear protocols. |
| Communicate clean vs. dirty equipment status clearly with EVS staff |  | Work with administration to secure adequate EVS resources and assess new cleaning technologies before implementation. |
| Report any equipment failures or supply shortages to supervisors. |  | Support EVS leadership with expert guidance, reinforce infection prevention strategies and drive continuous performance improvement. |

| Area/ Item | Staff Responsible |  |  | Method (Chemical Used) |  |  | Frequency |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Patient Room | Nursing | EVS | Other: (e.g., admin assistant) | Quat | Bleach | Hydrogen Peroxide | Daily (Routine) | Point of Care/ As needed | Discharge/ Terminal |
| Bed Rails |  | X |  |  |  | X | X |  | X |
| Patient Bathroom |  | X |  |  |  |  | X | X | X |
| Patient Bed |  |  |  |  |  |  |  |  |  |
| Call Light |  |  |  |  |  |  |  |  |  |
| Bedside Table (Tray Table) |  |  |  |  |  |  |  |  |  |
| Waiting Rooms |  |  |  |  |  |  |  |  |  |
| Counter Tops |  |  |  |  |  |  |  |  |  |
| Light Switch |  |  |  |  |  |  |  |  |  |
| Doorknobs |  |  |  |  |  |  |  |  |  |
| Refreshment Area |  |  |  |  |  |  |  |  |  |
| Devices |  |  |  |  |  |  |  |  |  |
| Telemetry Box/ Wires |  |  |  |  |  |  |  |  |  |
| In Room Monitor (Vitals Monitor) |  |  |  |  |  |  |  |  |  |
| Wall Mounted Equipment |  |  |  |  |  |  |  |  |  |
| Computers |  |  |  |  |  |  |  |  |  |
| IV Pump/ Poles |  |  |  |  |  |  |  |  |  |
| Code Cart |  |  |  |  |  |  |  |  |  |
| Lift Equipment/ Slings |  |  |  |  |  |  |  |  |  |
| Specialty Carts (e.g., Chest tube cart, Trach tray) |  |  |  |  |  |  |  |  |  |
| General Items in all areas |  |  |  |  |  |  |  |  |  |
| Air Vents |  |  |  |  |  |  |  |  |  |
| Fire Extinguishers |  |  |  |  |  |  |  |  |  |
| Water Machines |  |  |  |  |  |  |  |  |  |
| Ice Makers |  |  |  |  |  |  |  |  |  |
| Refrigerators |  |  |  |  |  |  |  |  |  |