APPROVED CLEANERS AND DISINFECTANTS
Facility name INFECTION PREVENTION

*This table provides examples of how to fill out an approved cleaners list.

Must be individualized to your facility*

| PRODUCT IMAGE | CHEMICAL GROUP | CONTACT TIME | USES | COMMENTS |
| --- | --- | --- | --- | --- |
| Product Name Insert image of product | Quaternary Ammonium Chloride (Alcohol-Free and Fragrance-Free) | 3 Minutes | Low-level disinfection - e.g., non-critical surfaces and medical equipment that contact intact skin - except the sensors or screens. | House-wide use. DO NOT USE to clean: Accu-Chek machines, feeding pumps. |
| Insert image of product Product Name | Sodium hypochlorite 1:10 bleach dilution, 0.55% (5500 ppm) | 4 Minutes | Low-level disinfection - For use on non-critical items and surfaces in Modified Contact Precautions rooms. | House-wide use for patients with known or suspected C.difficile or Norovirus. |
| Insert image of product Product Name | Quaternary Ammonium Chloride, Isopropyl Alcohol and Ethanol | 2 Minutes | Low-level disinfection - e.g., non-critical surfaces and medical equipment that contacts intact skin - except the sensors or screens. | MUST USE to clean: Accu-Chek machines, Alaris IV pumps, Bard vein finders. |
| Insert image of product Product Name | Isopropyl Alcohol 70% | 1 Minute | Low-level disinfection - e.g., small surfaces like the pulse oximeter sensors, stethoscope bell, rubber stopper of multi-dose med vials. | House-wide use. |
| Product Name Insert image of product | Hydrogen Peroxide, Peracetic Acid | 3 Minutes | Intermediate-level disinfection for - removal of hazardous drugs on surfaces in cleanrooms including work stations, fume hoods, equipment and other non-porous environmental surfaces. | Pharmacy use only. |
| Insert image of product Product Name | Bleach 1:10 Dilution | 3 Minutes | Intermediate-level disinfection - e.g., noncritical surfaces and environmental cleaning for Discharge, cleans effective against C. diff, Norovirus. | EVS use only. |