## Sheet1
WARNING: IFUs FOR DEVICE, DISINFECTANT, AND TEST STRIPS MUST BE FOLLOWED
GENERIC HLD SOLUTION LOG SHEET
Test strip bottle first opend: |  |  |  | Do not use test strips after this date:
Test strip QC date: |  |  |  | QC test performed by:
QC test results: Negative ____ ____ ____ Positive: ____ ____ ____ | [5 empty] | Test strip bottle lot #:
Date opened | Date tested |  | Device identificaiton |  | Date of HLD | Patient identifier
Date expires | Time tested |  | Temp of solution | Exposure time | Time of HLD
| Pass | Fail
Solution lot number |  |  |  |  | Initials of Reprocesor
Date solution opened | Date Solution tested |  | Device identificaiton |  | Date of HLD | Patient identifier
Date solution expires | Time solution tested |  | Temp of solution | Exposure time | Time of HLD
| Pass | Fail
Solution lot number |  |  |  |  | Initials of Reprocesor
Date solution opened | Date Solution tested |  | Device identificaiton |  | Date of HLD | Patient identifier
Date solution expires | Time solution tested |  | Temp of solution | Exposure time | Time of HLD
| Pass | Fail
Solution lot number |  |  |  |  | Initials of Reprocesor
Date solution opened | Date Solution tested |  | Device identificaiton |  | Date of HLD | Patient identifier
Date solution expires | Time solution tested |  | Temp of solution | Exposure time | Time of HLD
| Pass | Fail
Solution lot number |  |  |  |  | Initials of Reprocesor
Date solution opened | Date Solution tested |  | Device identificaiton |  | Date of HLD | Patient identifier
Date solution expires | Time solution tested |  | Temp of solution | Exposure time | Time of HLD
| Pass | Fail
Solution lot number |  |  |  |  | Initials of Reprocesor
Date solution opened | Date Solution tested |  | Device identificaiton |  | Date of HLD | Patient identifier
Date solution expires | Time solution tested |  | Temp of solution | Exposure time | Time of HLD
| Pass | Fail
Solution lot number |  |  |  |  | Initials of Reprocesor

## Sheet2
WARNING: IFUs FOR DEVICE, DISINFECTANT, AND TEST STRIPS MUST BE FOLLOWED
GENERIC HLD SOLUTION LOG SHEET
Test strip bottle first opend: |  |  |  | Do not use test strips after this date:
Test strip QC date: |  |  |  | QC test performed by:
QC test results: Negative ____ ____ ____ Positive: ____ ____ ____ | [5 empty] | Test strip bottle lot #:
Solution opened | Solution test |  | Device identificaiton |  | Date of HLD | Patient identifier
Date | Date:
Solution expires | Time: |  | Temp | Exposure time | Time of HLD
Date | Pass | Fail
Solution lot number: |  |  |  |  | Initials of Reprocesor:
Solution opened | Solution test |  | Device identificaiton |  | Date of HLD | Patient identifier
Date | Date:
Solution expires | Time: |  | Temp | Exposure time | Time of HLD
Date | Pass | Fail
Solution lot number: |  |  |  |  | Initials of Reprocesor:
Solution opened | Solution test |  | Device identificaiton |  | Date of HLD | Patient identifier
Date | Date:
Solution expires | Time: |  | Temp | Exposure time | Time of HLD
Date | Pass | Fail
Solution lot number: |  |  |  |  | Initials of Reprocesor:
Solution opened | Solution test |  | Device identificaiton |  | Date of HLD | Patient identifier
Date | Date:
Solution expires | Time: |  | Temp | Exposure time | Time of HLD
Date | Pass | Fail
Solution lot number: |  |  |  |  | Initials of Reprocesor:
Solution opened | Solution test |  | Device identificaiton |  | Date of HLD | Patient identifier
Date | Date:
Solution expires | Time: |  | Temp | Exposure time | Time of HLD
Date | Pass | Fail
Solution lot number: |  |  |  |  | Initials of Reprocesor:
Solution opened | Solution test |  | Device identificaiton |  | Date of HLD | Patient identifier
Date | Date:
Solution expires | Time: |  | Temp | Exposure time | Time of HLD
Date | Pass | Fail
Solution lot number: |  |  |  |  | Initials of Reprocesor:
Solution opened | Solution test |  | Device identificaiton |  | Date of HLD | Patient identifier
Date | Date:
Solution expires | Time: |  | Temp | Exposure time | Time of HLD
Date | Pass | Fail
Solution lot number: |  |  |  |  | Initials of Reprocesor: